Those of you following "global climate change" and "renewable" issues probably know that the UK has set a goal of getting 10% of its electricity from "renewable" sources by 2010.

Eleanor Tillinghast has pointed out that the report submitted in October 2003 to the House of Lords Science & Technology Committee on by The Royal Academy of Engineering has a rather straightforward but understated analysis of the feasibility, practicability, and implications of trying to meet that goal.

The Executive Summary appears below.  The full 21-page report can be found at: http://www.raeng.org.uk/policy/pdfs/ResponseV3.pdf

*************************************************

Executive Summary

The Royal Academy of Engineering is pleased to submit evidence to the House of Lords

Science and Technology Committee's Inquiry into “The Practicalities of Developing

Renewable Energy”. The Academy welcomed the publication of the White Paper “Our

Energy Future – Creating a Low Carbon Economy”, but cautioned that the targets for

renewables, reduction in emissions and energy efficiency were all economically and

technologically demanding. The Academy has previously pointed out the immense

engineering challenges of meeting these targets most notably in “An Engineering Review of

the Performance and Innovation Unit’s Energy Review” prepared for the Minister of State for

Energy and Industry.

• Without subsidies, there are currently no cost effective renewable energy technologies.

Over the next ten years, some predict that wind energy will become competitive and this

will be the mainstay of efforts to help meet the Government’s aim that, by 2010, 10% of

electricity should come from renewable sources. When realistic discount rates, financial

risk, intermittency and displacement costs are taken into consideration, the potential for

large-scale development of any renewable technology is severely diminished, but a

number of actions might be taken to help their development.

• The Government must look again at the Renewable Obligation Certificates (ROCs)

arrangements. Uncertainty in the price of ROCs, as they are traded as a market

commodity, means that investors could lose money if their value drops below a threshold.

This threshold will differ for each technology and will vary over time, adding to investor

uncertainty. Should this happen, investors will become sceptical of entering the market

and may consider withdrawing. Bearing in mind that all new wind farms currently under

construction in the UK are being built by large companies on their own balance sheets,

this could have a significant impact in the City where traders are already sceptical about

the power industry after the collapse of Enron.

• The planning process should be speeded up but without damaging the local democratic

process. The Academy acknowledges that the Government has tried to speed up planning

decisions for renewable energy projects, but much still needs to be done. Even at the

earliest stage, there is a financial risk involved in preparing to apply for planning

permission and investors need to see a reasonable success rate. It has been noted that the

Ministry of Defence is a common objector to wind farm planning permissions, and

although the Ministry has agreed to be more constructive in its approach, again, much

remains to be done.

• Distribution network operators need better financial incentives to connect generators

utilising renewable sources to their systems. At present, there are none. Network

operators are generally wary of connecting large volumes of renewable generation to their

systems as the added complexity of the large number of small and embedded generators

has an impact on reliability, supply quality and fault levels. The forthcoming Distribution

Network Operators (DNOs) price review by Ofgem in 2004/5 will be the only

opportunity to address this before 2010.

• The high voltage transmission network needs to be extended and updated in areas, as the

geographical pattern of generation and usage is likely to change. For example, it is

expected that large amounts of wind-generated electricity in the North of Scotland will

need to be transmitted to the south. There is already a general flow of power from North,

to South in the grid, and this flow will be increased with further development of

renewables, particularly in Scotland.

• The random intermittency of electrical power supplied from many renewable sources,

most notably wind, requires a high level of conventional back-up generating capacity to

ensure security of supply. As the penetration of intermittent generators increases and

becomes a significant proportion of the total, the extra system requirements and costs

could pose serious problems. Although the causes of recent well-publicised blackouts

have been due to other reasons, intermittency will exacerbate the potential for cascade

failure.

• The Academy recommends that, given the critical importance of a reliable electricity

supply to our national economic and social well-being, and the large number of people

and organisations engaged in the debate over renewable energy, including the general

public, the Government should produce an Annual Report on progress towards the 10%

target for renewable electricity by 2010 along with reasons for exceeding or falling short

of intermediate targets. The same report should also make clear additional costs and

benefits that arise from renewable energy, including the costs of standby generation and

improvements to the electrical power supply infrastructure.